# IEC 60601 Testing

Source URL: https://www.itcindia.org/iec-60601-testing/

Manufacturers of Electrical Medical Equipment who wish to introduce their product in the European Market, must ensure that their products are CE marked, indicating that their products comply with the applicable European Medical Directive. For this, understanding and meeting the requirements of EN 60601 for all such manufacturers is essential.

IEC 60601-1 defines electromedical products as, ‘equipment provided with no more than one connection to a particular supply mains and intended to diagnose, treat or monitor the patient under medical supervision, and which makes physical or electrical contact with the patient and/or detects such energy transfer to or from the patient.’

IEC 60601-1 has become a global benchmark for electrical medical equipment and many companies view compliance with it as de-facto requirement for most markets.

#### Some of the medical equipments covered are:

Patient ventilators

Medical lasers

Patient monitors

High frequency surgical equipment

Cardiac Defibrillators etc.

#### Some of the risks related to medical equipment are:

Excessive current may lead to an electric shock to the patient or user.

Probability of burns, caused by high frequency surgical equipment.

Increase respiration by pressure caused by abnormal working of ventilators

Ventricular fibrillation (VF), caused by leak currents of devices etc.

#### Some of the requirements of the standard are:

Mechanical requirements: The enclosure of the device should be sufficiently strong to stand the wear and tear of normal use.

Markings: IEC has defined a list of details that must be specified on the product’s name tag. It should include the information of the manufacturer, its electrical requirements, model number etc.

Earthing: It refers to how the device is connected to the earth or safety ground connection of an electrical power supply to ensure safety is provided in the event of an electrical fault.

Electrical: The standard requires that the medical device operate safely both in normal conditions as well as in the event of ‘single fault’.

Earth Leakage Current Test

#### Why Chose ITC?

ITC India Pvt Ltd is an NABL accredited laboratory to test Medical equipments as per IEC 60601-1.

All the testing is done with the highly accurate and calibrated machines.

Qualified engineers are appointed to do the testing of medical products.

We are customer driven and responsive and always update the client of failed tests with photographs and videos for support.

We continuously improve our quality of testing without any compromise on integrity.

Know More on Medical Device Testing

#### FAQs

What is Infant Incubator?

What is IEC 60601-1?

What is Medical Electrical Equipment?

IEC 60601-1 Defibrillation Proof Applied Parts

Protection Against Patient Entrapment in Non Moving Parts

Safe Working Load Test on Medical Beds

Why IEC 60601-1?

What is IEC 60601-1?

Do you wish to get your medical device tested?

Mail us to get your QUOTE today!!