# Blood Pressure Monitor Testing

Source URL: https://www.itcindia.org/blood-pressure-monitor-testing/

The narrower your arteries, the higher your blood pressure. Blood pressure lower than 120/80 mm Hg is considered normal.

Blood pressure that’s 130/80 mm Hg or more is considered high. If your numbers are above normal but under 130/80 mm Hg, you fall into the category of elevated blood pressure.Blood pressure is measured using a sphygmomanometer, or blood pressure monitor. It consists of an inflatable cuff that’s wrapped around your arm, roughly level with your heart, and a monitoring device that measures the cuff’s pressure. The monitor measures two pressures: systolic, and diastolic. Monitoring your blood pressure at home can: Help with early diagnosis. Self-monitoring can help your doctor diagnose high blood pressure earlier than if you have only occasional blood pressure readings in a medical office. A normal blood pressure reading is below 140/90, but if you have heart or circulatory disease, diabetes or kidney disease, your blood pressure should ideally be less than 130/80.

To get started, wait a moment, then press start. Remain still and quiet as the machine begins measuring. The cuff will inflate, then slowly deflate so that the machine can take your measurement. When the reading is complete, the monitor displays your blood pressure and pulse on the digital panel.

## Electrical safety standard for Blood Pressure Monitors is IEC 60601-2-34

S cope of IEC 60601-2-34 : This particular standard applies to BASIC SAFETY and ESSENTIAL PERFORMANCE of INVASIVE BLOOD PRESSURE MONITORING EQUIPMENT as defined in 201.3.63, herein after referred to as ME EQUIPMENT.

This particular standard does not apply to catheter tubing, catheter needles, Luer locks, taps and tap tables that connect to the DOME. This particular standard does not apply to NON-INVASIVE BLOOD PRESSURE MONITORING EQUIPMENT.

## List of Critical Tests of IEC 60601-2-34:

ME EQUIPMENT identification, marking and documents

Protection against electrical HAZARDS from ME EQUIPMENT

Protection against MECHANICAL HAZARDS of ME EQUIPMENT and ME SYSTEMS

Protection against unwanted and excessive radiation HAZARDS

Protection against excessive temperatures and other HAZARDS

Accuracy of controls and instruments and protection against hazardous outputs

HAZARDOUS SITUATIONS and fault conditions

Electromagnetic compatibility of ME EQUIPMENT and ME SYSTEMS

Electromagnetic compatibility – Requirements and tests