# Endoscopic Equipment Testing

Source URL: https://www.itcindia.org/endoscopic-equipment-testing/

Endoscopy is a nonsurgical procedure used to examine a person’s digestive tract. Using an endoscope, a flexible tube with a light and camera attached to it, your doctor can view pictures of your digestive tract on a color TV monitor. During an upper endoscopy, an endoscope is easily passed through the mouth and throat and into the esophagus, allowing the doctor to view the esophagus, stomach, and upper part of the small intestine. Similarly, endoscopes can be passed into the large intestine (colon) through the rectum to examine this area of the intestine. This procedure is called sigmoidoscopy or colonoscopy depending on how far up the colon is examined. A special form of endoscopy called endoscopic retro grade cholangiopancreaticography, or ERCP, allows pictures of the pancreas, gallbladder, and related structures to be taken. ERCP is also used for stent placement and biopsies. Endoscopic ultrasound or EUS combines upper endoscopy and ultrasound examination to obtain images and information about various parts of the digestive tract.

In addition, your doctor may use an endoscope to take a biopsy (removal of tissue) to look for the presence of disease. Endoscopy may also be used to treat a digestive tract problem. For example, the endoscope might not only detect active bleeding from an ulcer, but devices can be passed through the endoscope that can stop the bleeding. In the colon, polyps can be removed through the scope to prevent the development of colon cancer. Also, using ERCP, gallstones that have passed outside the gallbladder and into the bile duct can often be removed.

## Electrical safety standard for Endoscopy is IEC 60601-2-18

S cope of IEC 60601-2-18 :

This International Standard applies to the BASIC SAFETY and ESSENTIAL PERFORMANCE of ENDOSCOPIC EQUIPMENT together with its INTERCONNECTION CONDITIONS and INTERFACE CONDITIONS.

## List of Critical Tests of IEC 60601-2-18:

ME EQUIPMENT identification, marking and documents

Protection against electrical HAZARDS from ME EQUIPMENT

Protection against MECHANICAL HAZARDS of ME EQUIPMENT and ME SYSTEMS

Protection against unwanted and excessive radiation HAZARDS

Protection against excessive temperatures and other HAZARDS

Accuracy of controls and instruments and protection against hazardous outputs

HAZARDOUS SITUATIONS and fault conditions

Electromagnetic compatibility of ME EQUIPMENT and ME SYSTEMS

Electromagnetic compatibility – Requirements and tests