# IEC 60601-2-5 Compliance Guide for Manufacturers and Regulatory Consultants

Source URL: https://www.itcindia.org/iec-60601-2-5-compliance-guide-for-manufacturers-and-regulatory-consultants/

IEC 60601-2-5 specifies the particular requirements for the basic safety and essential performance of ultrasonic physiotherapy equipment. IEC 60601-2-5 testing supplements IEC 60601-1 and must be applied in conjunction with the general standard and applicable collateral standards. ITC India Pvt Ltd We are just a call away + 91-9316473033

For manufacturers and regulatory consultants, understanding this standard is critical for CE marking, FDA submissions, and global market access. https://webstore.iec.ch/en/publication/2668

## Regulatory Position of IEC 60601-2-5 in the 60601 Framework

IEC 60601-2-5 is a particular standard , meaning it modifies or replaces clauses of:

IEC 60601-1 (General Safety)

IEC 60601-1-2 (EMC)

IEC 60601-1-6 (Usability)

IEC 60601-1-8 (Alarms, if applicable)

ISO 14971 (Risk Management – mandatory integration)

Where conflicts exist, IEC 60601-2-5 takes precedence. IEC 60601 Testing. Elevate your electro-medical devices standards

## Scope and Device Classification Considerations

This standard applies to:

Therapeutic ultrasound devices

Continuous and pulsed output systems

Physiotherapy ultrasound equipment used in clinical environments

Regulatory consultants must confirm:

Intended use alignment

Device classification (EU MDR / FDA)

Energy output thresholds

Applicator configuration

Misclassification may result in non-compliance during technical file review. https://www.iso.org/standard/72704.html

## Basic Safety Requirements – Design & Verification Focus

## Electrical Safety IEC-60601-2-5-testing

Manufacturers must demonstrate:

Compliance with leakage current limits

Protection against electric shock (MOOP/MOPP requirements)

Adequate insulation coordination

Safe power supply design

Testing must follow IEC 60601-1 baseline criteria. https://en.wikipedia.org/wiki/IEC_60601

## Acoustic Output Control

Critical compliance parameters include:

Ultrasonic frequency accuracy

Effective radiating area (ERA)

Beam non-uniformity ratio (BNR)

Output power tolerance

Maximum intensity limits

Uncontrolled output presents risk of thermal injury and tissue damage. EMC Testing

## Thermal and Mechanical Safety

Verification must include:

Transducer surface temperature limits

Mechanical robustness of applicators

Prevention of unintended continuous emission

Fail-safe design in case of control malfunction

## Essential Performance – Risk-Based Interpretation

Under IEC 60601-2-5, essential performance relates to:

The ability of the ultrasonic physiotherapy equipment to deliver therapeutic energy within specified tolerances without causing unacceptable risk.

Manufacturers must define:

Essential output parameters

Acceptable performance deviation thresholds

Failure conditions that may lead to harm

Monitoring and protective mechanisms

Regulatory consultants should ensure essential performance is clearly documented in the Risk Management File (RMF).

## Integration with ISO 14971 Risk Management

IEC 60601-2-5 requires full integration with ISO 14971.

Key documentation must include:

Hazard analysis (thermal injury, cavitation effects, electrical hazards)

Risk estimation and control measures

Verification of risk control effectiveness

Residual risk evaluation

Benefit-risk analysis

Notified Bodies increasingly scrutinize essential performance linkage to risk controls. EMI/EMC for Medical Devices

## Testing & Verification Strategy

Manufacturers should prepare for:

Acoustic power measurement

Beam profile analysis

Output stability testing

Temperature rise testing

Leakage current testing

Mechanical durability testing

EMC testing (IEC 60601-1-2)

Testing must be traceable, calibrated, and documented in accordance with QMS requirements (ISO 13485).

## Technical Documentation Requirements (EU MDR Perspective)

For CE marking, documentation must include:

General Safety and Performance Requirements (GSPR) mapping

Standards compliance matrix

Test reports from accredited laboratory

Risk Management File

Usability engineering file

Clinical evaluation (where applicable)

Post-market surveillance planning

IEC 60601-2-5 compliance alone does not ensure CE marking — it must be integrated into the full regulatory strategy.

## FDA Considerations (US Market)

For 510(k) submissions:

Identify predicate device

Demonstrate substantial equivalence

Provide performance testing data

Address software validation (if applicable)

Provide acoustic output verification

FDA may request additional performance data depending on output characteristics.

## Common Compliance Gaps Identified by Notified Bodies

Poor definition of essential performance

Incomplete risk linkage to acoustic hazards

Missing BNR validation

Inadequate temperature testing

Insufficient traceability in technical file

Proactive gap assessment reduces approval delays.

## Strategic Compliance Approach for Manufacturers

Recommended pathway:

Define intended use and classification

Perform risk analysis early in design phase

Identify applicable clauses of IEC 60601-2-5

Conduct pre-compliance testing

Perform full accredited laboratory testing

Compile regulatory documentation

Conduct internal audit before submission

Early compliance integration significantly reduces redesign risk.

## Conclusion

IEC 60601-2-5 is a critical standard governing the safe therapeutic delivery of ultrasonic energy. For manufacturers and regulatory consultants, successful compliance requires a structured, risk-based, and documentation-driven approach aligned with global regulatory frameworks.

Strategic implementation ensures:

Safer products

Faster approvals

Reduced regulatory queries

Stronger global market positioning