# Luminaries/LED Product Testing

Source URL: https://www.itcindia.org/luminaries-led-product-testing/

ITC can do Electrical Safety testing against Luminaries/LED equipment for following types of products/standards:

Fixed general purpose luminaries, Luminaries for road and street lighting, Aquarium luminaries, Lighting chains, Emergency lighting.

LED-lamps , LED bulb , LED based street lights ,flood lights , tube lights , DC or AC supplied electronic control gear for LED modules , Indoor-outdoor LED luminaires etc

Popular standards for LED Product testing are LM 79 ,IS 16106:2012 ,IEC 61347-2-13 ,IEC 62384,IEC62722-2-1,IEC 62031,IS 15885(part2/sec13),IS 16103,IS 16102,IEC 62612,IEC 60969 etc

General Safety Testing for Luminaries

Marking

Construction

External and internal wiring

Provision for Earthing

Protection against electric c shock

Resistance to Dust, Solid objective and Moisture

Insulation Resistance and electric Strength.

Creepage and Clearances distances

Endurance and Thermal Test

Resistance to Heat ,Fire and Tracking

Screw Terminals

Screwless terminals and Electrical Connections

### List of Major standards under Luminaire

| Self-ballasted led lamps for general lighting services | IS 16102 (Part 1) | IEC 62560 |
| --- | --- | --- |
| Led modules for general lighting part 1 safety requirements | IS 16103 (Part 1) | IEC 62031 |
| Safety Of Lamp Controlgear – Part 1: General and safety requirements | IS 15885 (Part 1) | IEC 61347-1 |
| Safety of Lamp Controlgear – part 2 particular requirements – section 13 d.c. or a.c. supplied electronic controlgear for led modules | IS 15885 (Part 2/sec 13) | IEC 61347-2-13 |
| Single-capped /Self-ballasted fluorescent lamps – Safety requirements | IS 15687 (Part 1) | IEC 60968 |